**SHENZHEN CHUANGTONG ELECTRONIC INSTRUMENTS CO.,LTD.**

**Declaration of Conformity UE**

**1. Massage equipment:** PROVE (Model MT-PV22B)

**2. Name and address of the manufacturer or his authorised representative:**

SHENZHEN CHUANGTONG ELECTRONIC INSTRUMENTS CO.,LTD.

1501, Shenzhen Luohu Investment Holding Building B,112 Qingshuihe 1st Road, Luohu District, Shenzhen. GuangDong. China

**3. This declaration of conformity is issued under the sole responsibility of the manufacturer.**

**4. Object of the declaration:**



- EMS Skin lifting devise with color in black /Reference: MT-PV22B

**5. The subject matter of the declaration described above is in conformity with the relevant Union harmonisation legislations:**

• **EMC (2014/30/EU):** Electromagnetic Compatibility Directive

• **LVD (2014/35/EU):** Low Voltage Directive

• **RoHS (2011/65/EU):** Restriction of the use of certain hazardous substances directive

1. **References to the relevant harmonised standards used or references to the other technical specifications in relation to which conformity is declared.**

**EN IEC 55014-1:2021:**Electromagnetic compatibility - Requirements for household appliances, electric tools and similar apparatus - Part 1: Emission.

**EN IEC 61000-3-2:2019+A1:2021:**Electromagnetic compatibility (EMC) - Part 3-2: Limits - Limits for harmonic current emissions (equipment input current ≤ 16 A per phase) + Amendment 1:2021

**EN 61000-3-3:2013+A1:2019+A2:2021:**Electromagnetic compatibility (EMC) - Part 3-3: Limits - Limitation of voltage changes, voltage fluctuations and flicker in public low-voltage supply systems, for equipment with rated current ≤ 16 A per phase and not subject to conditional connection + Amendment 1:2019 + Amendment 2:2021

**EN IEC 55014-2:2021**: Electromagnetic compatibility - Requirements for household appliances, electric tools and similar apparatus - Part 2: Immunity

**EN IEC 61000-4-2:2009:** Electromagnetic compatibility (EMC) - Part 4-2: Testing and measurement techniques - Electrostatic discharge immunity test

**EN IEC 61000-4-3:2020:** Electromagnetic compatibility (EMC) - Part 4-3: Testing and measurement techniques - Radiated, radio-frequency, electromagnetic field immunity test

**EN 61000-4-4:2012:**Electromagnetic compatibility (EMC) - Part 4-4: Testing and measurement techniques - Electrical fast transient/burst immunity test

**EN 61000-4-5:2014+A1:2017:**Electromagnetic compatibility (EMC) - Part 4-5: Testing and measurement techniques - Surge immunity test

**EN IEC 61000-4-6:2022:**Electromagnetic compatibility (EMC) - Part 4-6: Testing and measurement techniques - Immunity to conducted disturbances, induced by radio-frequency fields

**EN IEC 61000-4-11:2020:**Electromagnetic compatibility (EMC) - Part 4-11: Testing and measurement techniques - Voltage dips, short interruptions and voltage variations immunity tests

**EN IEC 60335-2-32:2021**:Household and similar electrical appliances - Safety - Part 2-32: Particular requirements for massage appliances.

**EN 60335-1:2012+A11:2014+A13:2017+A1:2019+A2:2019+A14:2019+A15:2021:** Household and similar electrical appliances - Safety - Part 1: General requirements + Amendment 11:2014 + Amendment 13:2017 + Amendment 1:2019 + Amendment 2:2019 + Amendment 14:2019 + Amendment 15:2021

**EN 62233:2008:** Measurement methods for electromagnetic fields of household appliances and similar apparatus with regard to human exposure

**7. Additional information:**

Signed on behalf of SHENZHEN CHUANGTONG ELECTRONIC INSTRUMENTS CO.,LTD.:



**City and date:**

Shenzhen, 18th of March, 2025

**Name and position:**Zhang Liang

CEO